# About this document.

Content blocks are arranged as a one-page datasheet document to be used in a PDF, or even printed.

A datasheet is commonly used later in the sales process to address technical questions for buyers.

Please do not edit the factual information, but feel free to add anything further to personalise this for your business and conform with your brand guidelines, so please use the blocks as a starting point to get started.

Please do not use this material without first updating, personalising the content and adding your brand guidelines to the layout.

Remote Tech Ltd

| # Gateway DATASHEET | # LOGO |
| --- | --- |

| ## Size and weight options W97 x H33 x L98mm ¦ W3.81 x H1.29 x L3.85 inches 235 grams ¦ 0.52 pounds | IMAGES from Image Library |
| --- | --- |
| ## Key Features Built-in 1800mAh rechargeable lithium-polymer battery gives up to 12 hours of battery backup in case of power failure Reset Button and Status LED Indicators 2-way encrypted communication and (OTA) Over the Air Updates Built-in flash memory logs data when offline, Micro SD card expandable Power Loss Detection System Lifetime Warranty | ## Operating Considerations UV-stabilized polycarbonate body IP64 rating - Fully dust tight and protected against water splashing from any angle. Operating temperatures: -40° to 85°C ¦ battery charge: 0° to 50°C 4G LTE cellular connectivity using Nano-SIM 8 Channel LoRa Concentrator for LoRa radio communications with Module NFC Antenna (used for commissioning) |

# Contact us today and discuss how remote temperature monitoring can help you. - Contact Details/ logo etc (Partner badge from marketing resources)